|  | Site Work Installation and Verification Record |
| --- | --- |

PLEASE READ CAREFULLY; This is being provided to you as a tool that you may wish to use in providing a safety and risk management program. You are responsible for providing safety and risk management services. We at Chubb are providing this tool to you in support of our underwriting objectives and we hereby disclaim any obligation to oversee or monitor the adherence to required or otherwise reasonable safety and risk control practices. We further disclaim liability for claims or suits relating to the alleged or actual failure to conduct reasonable safety control practices or relating to the use of or failure to use this document. Please note that neither this tool or any of its components contain every possible operation, inspection requirement or other detail that may be relevant to your project or that may be required by federal or state law, or by local building codes, statutes, or other requirements. This tool is intended only as a guideline, and not as a substitute for consultation with your insurance broker, or for engineering, legal or other professional advice.

| Project Identifier: |  | CM/GC: |  |  |
| --- | --- | --- | --- | --- |
| Owner: |  | Date: |  |  |

|  | Inspection Criteria | Responsible Party(ies) |  | Inspected by |
| --- | --- | --- | --- | --- |
| Inspection/Test Category | Description | Yes | No | N/A | Installation Contractor | Contracted with | Comments/Notes | Initial | Date |
| Subcontractor Management | Prior to start of operations, verify the following are in place at a minimum for each selected subcontractor: |
|  | Subcontractor pre-qual process that includes at a minimum: review of last 3 yrs. Experience Modification Rate (EMR), OSHA violations, losses, financial status, and safety culture review/assessment. |  |  |  |  |  |  |  |  |
|  | Signed/executed subcontract agreement. |  |  |  |  |  |  |  |  |
|  | Contract includes hold harmless and indemnification agreements in your favor (to the extent allowable by law). |  |  |  |  |  |  |  |  |
|  | Insurance requirements and limits, to include completed operations coverage, meet contract specifications. |  |  |  |  |  |  |  |  |
|  | Includes primary and non-contributory additional insured status for contractor, its officer/employees, owner, and any others required. |  |  |  |  |  |  |  |  |
|  | Verify valid certificates of insurance and endorsements are in place. |  |  |  |  |  |  |  |  |
|  | An appropriately rated insurance carrier. |  |  |  |  |  |  |  |  |
|  | Signed waiver of subrogation for WC/GL is received. |  |  |  |  |  |  |  |  |
|  | Where required, verify contractor is licensed to work in/for the city and state where project is located. |  |  |  |  |  |  |  |  |

|  | Inspection Criteria | Responsible Party(ies) |  | Inspected by |
| --- | --- | --- | --- | --- |
| Inspection/Test Category | Description | Yes | No | N/A | Installation Contractor | Contracted with | Comments/Notes | Initial | Date |
| Approved Shop Drawings and Specifications | Build in strict compliance with approved specifications and shop drawings. |  |  |  |  |  |  |  |  |
|  | Stamped approvals from all applicable parties including building department, structural engineer and/or architect are received and maintained. |  |  |  |  |  |  |  |  |
|  | RFI’s (request for information) are monitored and followed through to verify completion. |  |  |  |  |  |  |  |  |
|  | Continuous monitoring is conducted as plans change throughout course of project. |  |  |  |  |  |  |  |  |
|  | Constructability reviews are completed to identify conflicts, verify adequacy of specifications, and ensure the projects is designed and built for the climate it is located in. |  |  |  |  |  |  |  |  |
| Survey Operations | Surveys performed for location, design, construction, maintenance, and operation of projects. The following are conducted at a minimum: |
|  | Qualified survey crew available advance of progressing operations. |  |  |  |  |  |  |  |  |
|  | Marks protected from damage caused by construction operations, general public, erosion, etc. |  |  |  |  |  |  |  |  |
|  | Marks are well described (visible) for future recovery. |  |  |  |  |  |  |  |  |
|  | Instrument records created for each instrument used. |  |  |  |  |  |  |  |  |
|  | Stakeouts establishing basic line & grade performed just prior to actual construction. |  |  |  |  |  |  |  |  |
|  | All baseline construction controls are referenced w/rebar, spikes, crosscuts in concrete or other permanent markers. |  |  |  |  |  |  |  |  |
|  | Verify survey notes/data are good quality (readable). Notes are easily understood, free from ambiguity, confusion, uncertainty, and doubt. |  |  |  |  |  |  |  |  |
|  | Field notes are complete, field checked, contain all applicable elements, built in self-checks, and required qualities. |  |  |  |  |  |  |  |  |

|  | Inspection Criteria | Responsible Party(ies) |  | Inspected by |
| --- | --- | --- | --- | --- |
| Inspection/Test Category | Description | Yes | No | N/A | Installation Contractor | Contracted with | Comments/Notes | Initial | Date |
|  | All survey data (instrument recorders, Personal Digital Assistants (PDA), field logs/notes, drawings etc.) are turned over to project engineers for review and retention. |  |  |  |  |  |  |  |  |
| Borings/Test Pits | Sign-off verification is completed and indicates the following, at a minimum: |
|  | Water table. |  |  |  |  |  |  |  |  |
|  | Drilling data. |  |  |  |  |  |  |  |  |
|  | Blow counts. |  |  |  |  |  |  |  |  |
|  | Soil type, strata, and description. |  |  |  |  |  |  |  |  |
|  | Equipment. |  |  |  |  |  |  |  |  |
|  | Depth of samples. |  |  |  |  |  |  |  |  |
|  | Visual observations. |  |  |  |  |  |  |  |  |
|  | Boring/test pits are subject to inspections assuring samples obtained are representative of actual subsurface conditions. Verified by a qualified representative. |  |  |  |  |  |  |  |  |
| Cranes | Are either mobile and/or tower cranes to be used to facilitate these operations? |  |  |  |  |  |  |  |  |
|  | If so, has the Chubb “Crane Installation and Verification Record” section been completed? |  |  |  |  |  |  |  |  |
| Equipment/Material Delivery | Assure all equipment & materials necessary for site work is visually inspected to verify compliance with final approved specifications and shop drawings and is damage/defect free upon arrival. |  |  |  |  |  |  |  |  |
|  | Field modifications are not conducted unless approved by all parties including the structural engineer and the owner in writing. |  |  |  |  |  |  |  |  |
| Welding Operations | Welding Operations are monitored and at a minimum the following are completed: |
|  | Verify welders are trained and qualified in accordance with local, state, and federal standards and codes. |  |  |  |  |  |  |  |  |
|  | Document & verify welder’s qualifications. |  |  |  |  |  |  |  |  |
|  | Verify a “Hot Work” program is in place that covers fire protection (extinguishers, fire watch), permit and training requirements. |  |  |  |  |  |  |  |  |
|  | At a minimum, all welds are inspected on a continuous, on-going basis for strength, quality, and completeness. |  |  |  |  |  |  |  |  |
|  | Inspection Criteria | Responsible Party(ies) |  | Inspected by |
| Inspection/Test Category | Description | Yes | No | N/A | Installation Contractor | Contracted with | Comments/Notes | Initial | Date |
| Subsurface Investigation Report | A required report is prepared and/or obtained which includes, but not limited to, the following: |
|  | Assessment of soil characteristics. |  |  |  |  |  |  |  |  |
|  | Water tables. |  |  |  |  |  |  |  |  |
|  | Results of field and laboratory testing. |  |  |  |  |  |  |  |  |
|  | Pre-existing water conditions. |  |  |  |  |  |  |  |  |
|  | Depth recommendations. |  |  |  |  |  |  |  |  |
|  | Potential environmental contamination. |  |  |  |  |  |  |  |  |
|  | Expected rates of foundation settlements. |  |  |  |  |  |  |  |  |
|  | Recommendations for foundation types. |  |  |  |  |  |  |  |  |
|  | Recommended bearing stresses. |  |  |  |  |  |  |  |  |
| Pre-Construction Surveys | Assessment to determine if existing and adjacent properties should be surveyed. |  |  |  |  |  |  |  |  |
|  | Third party surveys are conducted when buildings or structures are located within the areas of but not limited to, demolition, blasting, pile/sheet driving. |  |  |  |  |  |  |  |  |
|  | Surveys of adjacent structures include documentation of existing interior and exterior conditions (written reports, photos, videos, etc.). |  |  |  |  |  |  |  |  |
|  | Vibration monitoring of existing /surrounding structures performed for blasting, underpinning, shoring, or pile driving operations |  |  |  |  |  |  |  |  |
| Blasting Operations and Monitoring | In addition to pre-blast surveys, pre-blast controls include, but are not limited to: |
|  | Blasting contractor is licensed and qualified to perform the operation. |  |  |  |  |  |  |  |  |
|  | Creation and Implementation of written blasting plan. |  |  |  |  |  |  |  |  |
|  | Notifications to affected parties such as utilities, railroads, properties. |  |  |  |  |  |  |  |  |
|  | Monitoring movement of existing/adjacent structures. |  |  |  |  |  |  |  |  |
|  | Third party documented seismic monitoring. |  |  |  |  |  |  |  |  |
|  | Seismic readings recorded per blast. |  |  |  |  |  |  |  |  |
|  | Written blasting records per shot. |  |  |  |  |  |  |  |  |
|  | Proper storage and transportation of explosives. |  |  |  |  |  |  |  |  |
|  | Posting of warning signs and blasting signals. |  |  |  |  |  |  |  |  |
|  | Use of two-way radios is prohibited. |  |  |  |  |  |  |  |  |
|  | Inspection Criteria | Responsible Party(ies) |  | Inspected by |
| Inspection/Test Category | Description | Yes | No | N/A | Installation Contractor | Contracted with | Comments/Notes | Initial | Date |
| Piling Installation | Pile driving ops & final placement of piles is inspected to verify compliance w/ approved drawings and specifications. Documentation includes, but is not limited to: |
|  | Depth of piles. |  |  |  |  |  |  |  |  |
|  | Drilling data. |  |  |  |  |  |  |  |  |
|  | Behavior. |  |  |  |  |  |  |  |  |
|  | Blow count. |  |  |  |  |  |  |  |  |
|  | Equipment used. |  |  |  |  |  |  |  |  |
|  | Condition of piles. |  |  |  |  |  |  |  |  |
|  | Observations. |  |  |  |  |  |  |  |  |
|  | Load testing data. |  |  |  |  |  |  |  |  |
|  | Engineer’s supervision and verification of all piles performed to confirm each pile is installed per design specification and local building code requirements. |  |  |  |  |  |  |  |  |
| Utility Installation and Relocations | Prior to installing new, relocating, or removing existing overhead and/or underground utilities, the following items, and inspections at a minimum, are conducted: |
|  | Obtain & review most current utility installation drawings. Reviewed by field engineers for accuracy. |  |  |  |  |  |  |  |  |
|  | Verify that “call before you dig” or “one call” system has been requested to perform mark out of existing underground utilities. |  |  |  |  |  |  |  |  |
|  | Request mark out from privately owned utility Co’s not part of the local call system. |  |  |  |  |  |  |  |  |
|  | Maintain record of utility mark out requests. Use photos to memorialize m/o locations in the event of a mismark, marks removed or destroyed, or strike occurs. |  |  |  |  |  |  |  |  |
|  | Compare mark out locations with utility specs/drawings to identify potential conflicts. |  |  |  |  |  |  |  |  |
|  | If conflicts are identified, they are reviewed by field engineer & new design and/or installation specs determined. |  |  |  |  |  |  |  |  |
|  | Ensure methods to safely excavate underground utilities are used such as hand digging, vacuum systems and non-conductive equipment used. |  |  |  |  |  |  |  |  |
|  | During backfill ops, assure underground utilities are not crushed or damaged. If necessary, additional designed support systems are used for protection. |  |  |  |  |  |  |  |  |
|  | Overhead utilities are de-energized & grounded or relocated by the utility provider. |  |  |  |  |  |  |  |  |
|  | Verify & document overhead utilities are de-energized & grounded, relocated or otherwise protected from damage. |  |  |  |  |  |  |  |  |
| Sub Grade | Soil materials are inspected by engineer or architect after excavation and immediately prior to construction of footings, foundation walls or piers. |  |  |  |  |  |  |  |  |
| Fill Material | Fill material inspections are conducted to verify compliance w/ approved drawings and specifications. Inspections include, but are not limited to: |
|  | Use of test pits for uncontrolled fill. |  |  |  |  |  |  |  |  |
|  | Proper field density tests per lift. |  |  |  |  |  |  |  |  |
|  | Proper environmental testing. |  |  |  |  |  |  |  |  |
|  | Proper composition and size of materials. |  |  |  |  |  |  |  |  |
|  | Proper clean fill certifications. |  |  |  |  |  |  |  |  |
|  | Check for satisfactory bearing material. |  |  |  |  |  |  |  |  |
|  | Confirm ground surface preparation. |  |  |  |  |  |  |  |  |
|  | Proper compacting, watering, and layering. |  |  |  |  |  |  |  |  |
|  | Allowable soil bearing pressure. |  |  |  |  |  |  |  |  |
|  | Inspections for voids and inclusions. |  |  |  |  |  |  |  |  |
|  | Optimum moisture content. |  |  |  |  |  |  |  |  |
|  | Implementation of grading controls. |  |  |  |  |  |  |  |  |
| Soils Compaction | Verify proper compacting, watering, and layering. |  |  |  |  |  |  |  |  |
|  | At a minimum, the following areas should be focused on: perimeter walls, foundations, retaining walls, street improvements (sewer, water, and storm drains). |  |  |  |  |  |  |  |  |
|  | Re-compaction conducted at locations that have been excavated for piping & utilities. |  |  |  |  |  |  |  |  |
|  | Soil compaction meets applicable standards, contract specifications and building codes. |  |  |  |  |  |  |  |  |
| Finish Grade | Finished grade is certified and approved by the architect and or engineer. |  |  |  |  |  |  |  |  |
|  | Grade is pitched away from the building and "ponding" is assessed after rain. |  |  |  |  |  |  |  |  |
| Underpinning | Underpinning ops, const. of coffer dams, caissons, braced excavated surfaces or other constructions used to support adjacent structures inspected for compliance w/approved drawings & specs. |  |  |  |  |  |  |  |  |
|  | Plans and drawings are approved by the architect/engineer who prepared the plans. |  |  |  |  |  |  |  |  |
| Soil Bearing Pressure/Soil Load Bearing Tests | Inspections conducted assuring adequate soil bearing pressures are maintained per the class of each bearing material. |  |  |  |  |  |  |  |  |
| Shoring/Bracing | Assure shoring or protective systems for excavations greater than 20 feet are designed by an engineer licensed in the state of the site. |  |  |  |  |  |  |  |  |
|  | Plans are maintained on-site during construction. Sheeting bracing such as tiebacks, rakers and/or crosslot bracing are inspected. |  |  |  |  |  |  |  |  |
| Drainage Inspections (Surface) | Inspection conducted of drainage system design & installation verifying compliance w/ approved drawings and specifications. Inspections include but are not limited to: |
|  | Erosion control and base stabilization. |  |  |  |  |  |  |  |  |
|  | Surface/storm water run-off. |  |  |  |  |  |  |  |  |
|  | Septic. |  |  |  |  |  |  |  |  |
|  | Sewage. |  |  |  |  |  |  |  |  |
|  | Water distribution. |  |  |  |  |  |  |  |  |
|  | Site irrigation. |  |  |  |  |  |  |  |  |
|  | Open site drainage. |  |  |  |  |  |  |  |  |
|  | Trench drains. |  |  |  |  |  |  |  |  |
|  | Confirm proper drainage is provided by hillsides, embankments, paved areas, sidewalks, and locations where free flowing water exists or has the potential to exist. |  |  |  |  |  |  |  |  |
|  | Water is diverted away from building foundations and retaining walls and all areas of potential "ponding" are assessed and addressed. |  |  |  |  |  |  |  |  |
| Drainage Inspections (Sewer/Water Piping) | Subsurface sewer & water piping system inspections are completed to verify compliance w/approved drawings and specifications. Inspections include but are not limited to: |
|  | Type of pipe. |  |  |  |  |  |  |  |  |
|  | Approved pitch. |  |  |  |  |  |  |  |  |
|  | Material selection. |  |  |  |  |  |  |  |  |
|  | Pipe size. |  |  |  |  |  |  |  |  |
|  | Materials used per design specifications. |  |  |  |  |  |  |  |  |
|  | Pipe joints sealed per design specifications. |  |  |  |  |  |  |  |  |
|  | Pipe coatings applied per design specifications. |  |  |  |  |  |  |  |  |
|  | Inspection Criteria | Responsible Party(ies) |  | Inspected by |
| Inspection/Test Category | Description | Yes | No | N/A | Installation Contractor | Contracted with | Comments/Notes | Initial | Date |
| Landscape Inspections | Landscape inspections are completed to verify compliance w/approved drawings and specifications. Inspections include but are not limited to: |
|  | Sprinkler position & direction of spray. |  |  |  |  |  |  |  |  |
|  | Sprinkler testing. |  |  |  |  |  |  |  |  |
|  | Location & placement of mulch. |  |  |  |  |  |  |  |  |
|  | Proper sloping. |  |  |  |  |  |  |  |  |
|  | Re-inspection after installation. |  |  |  |  |  |  |  |  |
|  | System draining and freeze prevention. |  |  |  |  |  |  |  |  |
| Dewatering Systems | Dewatering system inspections completed to verify compliance w/approved drawings and specifications. Inspections include but are not limited to: |
|  | Verify proper installation and operation. |  |  |  |  |  |  |  |  |
|  | Assess need for tight barrier walls. |  |  |  |  |  |  |  |  |
|  | Use of a Piezometer to measure pressure or compressibility of the site and adjacent property subsurface during de-watering (used to measure the pressure of a fluid or the compressibility of a substance when subjected to such a pressure) |  |  |  |  |  |  |  |  |
|  | Subsidence on existing and adjacent properties. |  |  |  |  |  |  |  |  |
|  | Controls preventing consolidation and settling of soils under adjacent properties. |  |  |  |  |  |  |  |  |
|  | Water released permitted, contained & monitored according to local, state & federal regulations. |  |  |  |  |  |  |  |  |
|  | At a minimum, dewatering systems include sump pumps, deep well and multiple well point systems. |  |  |  |  |  |  |  |  |
| Building Turn Over Information | Verify manufacturer and building information is delivered to the owner in writing. These items include but are not limited to: |
|  | Construction documents such as drawings, specifications, and blueprints. |  |  |  |  |  |  |  |  |
|  | Warranty information. |  |  |  |  |  |  |  |  |
|  | Safety instructions and requirements. |  |  |  |  |  |  |  |  |
|  | Start up and operation instructions and procedures. |  |  |  |  |  |  |  |  |
|  | Maintenance and service instructions. |  |  |  |  |  |  |  |  |
|  | Installation design plans. |  |  |  |  |  |  |  |  |
|  | Training for owners, maintenance staff, etc. |  |  |  |  |  |  |  |  |
|  | Any training products and resources. |  |  |  |  |  |  |  |  |
|  | Location of utilities and structures. |  |  |  |  |  |  |  |  |
|  | Identification/labeling of controls, piping or other. |  |  |  |  |  |  |  |  |
|  | All punch list items, and inspection report deficiencies addressed and corrected to the satisfaction of the inspection agency and/or manufacturer? |  |  |  |  |  |  |  |  |
| ADD |  |  |  |  |  |  |  |  |  |
| ADD |  |  |  |  |  |  |  |  |  |

VERIFICATION STATEMENT I verify that to the best of my knowledge, the inspections and/or tests set out in this installation and verification record were completed by the responsible party shown, that any recommended corrections were made, and that any reports accompanying these inspections/tests were received for review, file and sign off and (if required) PE/RE stamps.

Name (please print in full)

Initials Date

Chubb is the marketing name used to refer to subsidiaries of Chubb Limited providing insurance and related services. For a list of these subsidiaries, please visit our website at www.chubb.com. Insurance provided by ACE American Insurance Company and its U.S. based Chubb underwriting company affiliates.  This document is advisory in nature and is offered for informational purposes only as a resource to be used together with your professional insurance advisors in maintaining a loss prevention program. The information contained in this document is not intended as a substitute for legal, technical, or other professional advice, nor is it intended to supplant any duty to provide a safe workspace, operation, product, or premises. No liabilities or warranties are assumed or provided by the information contained in this document. Chubb, 202 Hall's Mill Road, Whitehouse Station, NJ 08889-1600.